China Horizontal Woltman Type Water Meter, Manufacturer, Supplier, Factory, Exporter in china

|  | HORIZONTAL WOLTMAN DETACHABLE DRY TYPE WATER METER Product name:HORIZONTAL WOLTMAN DETACHABLE DRY TYPE WATER METER Specification:LXLC-50E~200E LXLCR-50E~200E Type:WOLTMAN TYPE APPLICATION: * Measuring the volume of cold (hot) water passing through the pipeline FEATURES: * Removable element structure, easy installation and maintenance, long term clear reading, inter-exchangeable spare parts, magnetic drive, small pressure loss, long working life, etc. WORKING CONDITION: * Water temperature: 40oC (90oC for hot water meter) * Water pressure: 1MPa COMPLIANCE WITH STANDARD: * ISO4064 (GB/T778-1996 JB/T8802-1998) INDICATING ERROR: * At low zone is5% from minimum flow rate(qmin)to transitional flow rate(qt)exclusive boundary * At high zone is2% from transitional flow rate(qt) to overload flow rate(qs) |
| --- | --- |

Plastic Water Meter,plastic water meters , plastic water meter manufacturers , plastic water meter suppliers , Multi Jet Plastic Water Meter,Single Jet Plastic Dry Type Water Meter,Volumetric Plastic Water Meter,Multi Jet Water Meter,multi jet water meters , multi jet water meter manufacturer , Vane Wheel Liquid Sealed Water Meters,Multi Jet Rotary Vane Wheel Dry Water Meter,Multi Jet Rotary Vane Wheel Wet Water Meter,Vertical Type Vane Wheel Water Meters,Single Jet Water Meter,single jet water meters , single jet dry water flow meter , Single Jet Dry Type Water Meter,Single-Jet Dry Type Plastic Water Meter,Dry Type Remote Reading Plastic Water Meter,Remote Reading Water Meter,remote reading water meters , Multi Jet Vane Wheel Dry Dail Water Meter,Dry Type Remote Reading Plastic Water Meter,Volumetric Plastic Remote Reading Water Meter,Volumetric Dry Remote Reading Plastic Water Meter,Volumetric Remote Reading Water Meter,Volumetric Dry Type Remote Reading Water Meter,Rotary Postion Water Meter,rotary postion water meters , Rotary Postion Volumertic Water Meters,Volumetric Dry Type Water Meter,Volumetric Plastic Rotary Postion Water Meter,Volumetric Dry Remote Reading Plastic Water Meters,Volumetric Remote Reading Water Meters,Woltmann Water Meter,woltman water meters , woltman water meter manufacturers , woltman water meter suppliers , Horizontal Woltman Detachable Water Meter,Horizontal Woltman Type Water Meter,Vertical Woltman Detachable Water Meter,

NINGBO YUXING WATER METER CO.,LTD Add: Shangtian Town Developing Zone, Fenghua,Zhejiang, China Contact: mo Tel: +86-574-88637938 Fax: +86-574-88632638 E-mail:sales@watermeteryx.com WebSite: http://www.watermeteryx.com