China Single-Jet Dry Type Plastic Water Meter, Manufacturer, Supplier, Factory, Exporter in china

|  | Single-Jet Dry Type Plastic Water Meter Product name:Single-Jet Dry Type Plastic Water Meter Specification:LXSC-15S3~20S3 Type:SINGLE JET Application: Measuring the volume of cold potable water passing through the pipeline. Features: Dry type.small,light,magnetic drive,free rotating register,easy and long term clear reading etc.Magnet resistance; Working Condition : Water temperature: 40oC for cold potable water meter pressure: 1Mpa Maximum Permissible Error: In the lower zone from Qmin inclusive up to but excluding Qt is:Cold potable and Hot water meter5% In the upper zone from Qt inclusive up to and including Qs is:Cold potable water meter2% Hot water meter2% |
| --- | --- |

Plastic Water Meter,plastic water meters , plastic water meter manufacturers , plastic water meter suppliers , Multi Jet Plastic Water Meter,Single Jet Plastic Dry Type Water Meter,Volumetric Plastic Water Meter,Multi Jet Water Meter,multi jet water meters , multi jet water meter manufacturer , Vane Wheel Liquid Sealed Water Meters,Multi Jet Rotary Vane Wheel Dry Water Meter,Multi Jet Rotary Vane Wheel Wet Water Meter,Vertical Type Vane Wheel Water Meters,Single Jet Water Meter,single jet water meters , single jet dry water flow meter , Single Jet Dry Type Water Meter,Single-Jet Dry Type Plastic Water Meter,Dry Type Remote Reading Plastic Water Meter,Remote Reading Water Meter,remote reading water meters , Multi Jet Vane Wheel Dry Dail Water Meter,Dry Type Remote Reading Plastic Water Meter,Volumetric Plastic Remote Reading Water Meter,Volumetric Dry Remote Reading Plastic Water Meter,Volumetric Remote Reading Water Meter,Volumetric Dry Type Remote Reading Water Meter,Rotary Postion Water Meter,rotary postion water meters , Rotary Postion Volumertic Water Meters,Volumetric Dry Type Water Meter,Volumetric Plastic Rotary Postion Water Meter,Volumetric Dry Remote Reading Plastic Water Meters,Volumetric Remote Reading Water Meters,Woltmann Water Meter,woltman water meters , woltman water meter manufacturers , woltman water meter suppliers , Horizontal Woltman Detachable Water Meter,Horizontal Woltman Type Water Meter,Vertical Woltman Detachable Water Meter,

NINGBO YUXING WATER METER CO.,LTD Add: Shangtian Town Developing Zone, Fenghua,Zhejiang, China Contact: mo Tel: +86-574-88637938 Fax: +86-574-88632638 E-mail:sales@watermeteryx.com WebSite: http://www.watermeteryx.com