China Volumetric Plastic Remote Reading Water Meter, Manufacturer, Supplier, Factory, Exporter in china

|  | Volumetric Plastic Remote Reading Water Meter Product name:Volumetric Plastic Remote Reading Water Meter Specification:LXH-15S-20S Type:PLASTIC APPLICATION: * Measuring the volume of cold potable water passing through the pipeline. FEATURES: * Completely plastic shell, solid and robust design, long service guaranteed; * High quality materials fiberglass reinforced polymerization amine corrosion resistance; * Plastic thread connecting couplings; * Optimum accuracy and performance at all times, in any position; * Revolutionary grooved piston for improved, durability and performance; * Durable tamperproof construction; * Volumetric meter, on principle of piston rotation, accurate measurement, easy and long term clear reading, etc; * Measuring accuracy is up to ISO4064, Class C. WORKING CONDITION: * Water temperature: 50oC * Water pressure: 1.0MP(10bar) Data Output Options: *1 L/Pulse MAXIMUM PERMISSIBLE ERROR: * In the lower zone from qmin inclusive up to but excluding qt is5%; * In the upper zone from qt inclusive up to and including qs is2% ACCESSORIES: * Optional: Both brass connections and plastic connections are available. |
| --- | --- |

Plastic Water Meter,plastic water meters , plastic water meter manufacturers , plastic water meter suppliers , Multi Jet Plastic Water Meter,Single Jet Plastic Dry Type Water Meter,Volumetric Plastic Water Meter,Multi Jet Water Meter,multi jet water meters , multi jet water meter manufacturer , Vane Wheel Liquid Sealed Water Meters,Multi Jet Rotary Vane Wheel Dry Water Meter,Multi Jet Rotary Vane Wheel Wet Water Meter,Vertical Type Vane Wheel Water Meters,Single Jet Water Meter,single jet water meters , single jet dry water flow meter , Single Jet Dry Type Water Meter,Single-Jet Dry Type Plastic Water Meter,Dry Type Remote Reading Plastic Water Meter,Remote Reading Water Meter,remote reading water meters , Multi Jet Vane Wheel Dry Dail Water Meter,Dry Type Remote Reading Plastic Water Meter,Volumetric Plastic Remote Reading Water Meter,Volumetric Dry Remote Reading Plastic Water Meter,Volumetric Remote Reading Water Meter,Volumetric Dry Type Remote Reading Water Meter,Rotary Postion Water Meter,rotary postion water meters , Rotary Postion Volumertic Water Meters,Volumetric Dry Type Water Meter,Volumetric Plastic Rotary Postion Water Meter,Volumetric Dry Remote Reading Plastic Water Meters,Volumetric Remote Reading Water Meters,Woltmann Water Meter,woltman water meters , woltman water meter manufacturers , woltman water meter suppliers , Horizontal Woltman Detachable Water Meter,Horizontal Woltman Type Water Meter,Vertical Woltman Detachable Water Meter,

NINGBO YUXING WATER METER CO.,LTD Add: Shangtian Town Developing Zone, Fenghua,Zhejiang, China Contact: mo Tel: +86-574-88637938 Fax: +86-574-88632638 E-mail:sales@watermeteryx.com WebSite: http://www.watermeteryx.com